## Contact Us
v8.1
This Is a FREE Standard Version.
For A Nominal Fee, We Can Modify This Spreadsheets To Meet Your Specific Needs.
Or Contact Us For Pricing On Our Unprotected Version.
Visit Our Website For More Amazing Spreadsheets.
We can custom create any spreadsheets to fit your needs.
| Website: | www.hvacnotebook.com
| Email: | hvacnotebook@yahoo.com
| USER DIRECTION: Enter your data in yellow cells. | 123
USER AGREEMENT
1) | All of our Spreadsheets are provided as-is without warranty of any kind. The user is assuming the entire risk as to their accuracy, quality, performance, and fitness for a particular use.
2) | Our Standard Verison Spreadsheets are password protected to prevent user from accidential deletions or modifications of formulas and VBA codes. Contact us if you would like to purchase a "Password-Free" Unprotected Version.
3) | By using our Spreadsheets, user has accepted the above terms and conditions.

## CalcSheet A1
FREE Standard Version
| Project Title: | 16th Street Retail Space - HVAC Replacement
| Project ID: | 30206 |  |  |  | Prepared By: | W.T | Sheet: | 1 of 1
| Project Manger: | W.M. |  |  |  | Checked By: | D.W. | Date: | 2018-02-04
SMOKE PURGE AIRFLOW CALCULATION
Project: | 2008 NYC BC Section 912: Postfire Smoke Purge Systems: (A) 1.0 CFM/SF or (B) 6 ACH, whichever is greater
Basement Level - Room 334
|  | Dimensions | Feet | Inches | Remarks
|  | Room Length | 30 | 7 | From Dwg A-5
|  | Room Width | 20 | 4
|  | Room Height | 8 | 2
(A) Airflow Calc. Based on CFM/SF
|  | Room Area = | 621.8611 | SF
|  | Airflow Per Area | 1 | CFM/SF | 2008 BC
|  | Airflow = | 621.8611 | CFM
(B) Airflow Calc. Based on ACH
|  | Room Volume = | 5078.5324 | CF
|  | Air Change Per Hour | 6 | ACH | 2008 BC
|  | Airflow = | 507.8532 | CFM
|  | Design Airflow = | 621.8611 | CFM | Based on CFM/SF with greater CFM
Notes:
1.0 CFM/SF requirement resulted in greater CFM. Used 1,000 CFM
v8.1
Visit Our Website For More Amazing Spreadsheets.
www.HVACnotebook.com

## READ ME
v8.1
Please Read and Accept The Below Terms Before Using These Spreadsheets.
User Guide
| 1 | Enter all required values in yellow cells and results will automatically be calculated in grey cells with final answer in blue cell.
| 2 | Some cells are protected to prevent accidential deletion of formulas.
Disclaimer
| 1 | User shall use these spreadsheets at his/her discretion and is responsible for verifying and backchecking their results. It is assumed that the user has good working knowledge of the calculations and formulas used with these spreadsheets.
| 2 | It's the user's responsibility to check all calculations and that these spreadsheets are used correctly.
| 3 | We are not responsible for any lost of data or liability incurred through the use of information in these spreadsheets.
| 4 | Information from these spreadsheets should only be used as a general guide in the design. Others factors that influence the results of these calculations might not be accounted for (e.g. elevation, temperature, viscosity, pressure, humidity, etc.). User should be aware of these factors and use the information from these spreadsheets accordingly.