## Contact Us
v8.1
This Is a FREE Standard Version.
For A Nominal Fee, We Can Modify This Spreadsheets To Meet Your Specific Needs.
Or Contact Us For Pricing On Our Unprotected Version.
Visit Our Website For More Amazing Spreadsheets.
We can custom create any spreadsheets to fit your needs.
| Website: | www.hvacnotebook.com
| Email: | hvacnotebook@yahoo.com
| USER DIRECTION: Enter your data in yellow cells. | 123
USER AGREEMENT
1) | All of our Spreadsheets are provided as-is without warranty of any kind. The user is assuming the entire risk as to their accuracy, quality, performance, and fitness for a particular use.
2) | Our Standard Verison Spreadsheets are password protected to prevent user from accidential deletions or modifications of formulas and VBA codes. Contact us if you would like to purchase a "Password-Free" Unprotected Version.
3) | By using our Spreadsheets, user has accepted the above terms and conditions.

## CalcSheet EQ5
Visit Our Website For More Amazing Spreadsheets.
www.HVACnotebook.com
NOTE: Enter your data in yellow cells and results in blue cells will automatically update.
FAN LAWS
Notes:
Air Density is constant, Specific Gravity of Air is 1, Fan Size is the same.
1 = Existing Condition; 2 = New Condition
| New BHP | New BHP From Change in CFM |  | New BHP From Change in RPM |  | New BHP From Change in SP
|  | CFM1 | 10000 | RPM1 | 850 | SP1 | 2.4
|  | BHP1 | 10 | BHP1 | 10 | BHP1 | 10
|  | CFM2 | 7000 | RPM2 | 800 | SP2 | 2
|  | BHP2 = | 3.43 | BHP2 = | 8.3371 | BHP2 = | 7.6073
| New CFM | New CFM From Change in BHP |  | New CFM From Change in RPM |  | New CFM From Change in SP
|  | BHP1 | 10 | RPM1 | 850 | SP1 | 2.4
|  | CFM1 | 10000 | CFM1 | 10000 | CFM1 | 10000
|  | BHP2 | 3.43 | RPM2 | 680 | SP2 | 1.54
|  | CFM2 = | 7000 | CFM2 = | 8000 | CFM2 = | 8010.4099
| New SP | New SP From Change in CFM |  | New SP From Change in RPM |  | New SP From Change in BHP
|  | CFM1 | Sample | RPM1 | Sample | BHP1 | Sample
|  | SP1 | Sample | SP1 | Sample | SP1 | Sample
|  | CFM2 | Sample | RPM2 | Sample | BHP2 | Sample
|  | SP2 = | Sample | SP2 = | Sample | SP2 = | Sample
| New RPM | New RPM From Change in CFM |  | New RPM From Change in SP |  | New RPM From Change in BHP
|  | CFM1 | Sample | SP1 | Sample | BHP1 | Sample
|  | RPM1 | Sample | RPM1 | Sample | RPM1 | Sample
|  | CFM2 | Sample | SP2 | Sample | BHP2 | Sample
|  | RPM2 = | Sample | RPM2 = | Sample | RPM2 = | Sample
ID:150818 (Sample) | [7 empty] | EQ5-v8.1