## Main
v.5.4
www.HVACnotebook.com
UNIT CONVERSIONS (FREE SAMPLE VERSION)
User Guide & Disclaimer
| Conversion Spreadsheets |  | Simple User Interface
| Distance | Weight |  | 34 | Click On Any Yellow Cells And Enter (Replace With) You Value (Replace Sample Data)
| Temperature | Velocity |  | 2.8333 | Cell With Auto-Calculated Result
| Area | Pressure |  | Sample | Cell Only Available in Full Version
| Volume | Energy
| Time & Date | Power
| Feet-Inches | US vs. Metric
This is a FREE Sample Version.
To use all features, get the Full Version of "G5 - Unit Conversions.xlsx"
Visit www.HVACnotebook.com for more spreadsheets.

## Temperature
TEMPERATURE CONVERSIONS |  |  | Back To MAIN SHEET
Units | Conversion Basis | Enter Value |  |  | Result
Celsius <=> Fahrenheit | Celsius = (5/9) x (Fahrenheit - 32) | 180 | Fahrenheit | = | 82.2222 | Celsius
| Fahrenheit = (9/5) x Celsius + 32 | 13 | Celsius | = | 55.4 | Fahrenheit
Celsius <=> Kevin | Celsius = Kevin - 273.15 | 300 | Kevin | = | 26.85 | Celsius
| Kevin = Celsius + 273.15 | 25 | Celsius | = | sample | Kevin
Fahrenheit <=> Kevin | Fahrenheit = (9/5) x (Kevin - 273.15) + 32 | 290 | Kevin | = | 62.33 | Fahrenheit
| Kevin = (Fahrenheit - 32) * (5/9) + 273.15 | 62.33 | Fahrenheit | = | 290 | Kevin
Rankine <=> Kevin | Rankine = (9/5) x Kevin | 20 | Kevin | = | 36 | Rankine
| Kevin = (5/9) x Rankine | 36 | Rankine | = | sample | Kevin
Common Equilvalent
0 °C=> 32 oF
0 °C => 273.16 oK
0 °C => 491.69 oR
1° C => 1.8 oF
1 °F => 0.555 oC

## Distance
DISTANCE CONVERSIONS |  |  | Back To MAIN SHEET
Units | Conversion Basis | Enter Value |  |  | Result
inch <=> cm | 1 inch = 2.54 cm | 1 | inches | = | 2.54 | cm
| cm = inches / 2.54 | 1 | cm | = | 0.3937 | inches
inch <=> mm | 1 inch = 25.4 mm | 1 | inches | = | 25.4 | mm
| mm = inches / 25.4 | 1 | mm | = | sample | inches
feet <=> yard | 1 yard = 3 feet | 1 | yard | = | 3 | feet
| feet = yard / 3 | 1 | feet | = | 0.33333 | yard
feet <=> meter | 1 foot = 0.3048 meter | 1 | feet | = | 0.3048 | meter
| 1 meter = 3.28 feet | 1 | meter | = | sample | feet
km <=> feet | 1 km = 3,281 feet | 1 | km | = | 3281 | feet
|  | 3281 | feet | = | 1 | km
km <=> yard | 1 km = 1,094 yards | 1 | km | = | sample | yards
|  | 1094 | yards | = | 1 | km
km <=> mile | 1 km = 0.6214 mile | 1 | km | = | 0.6214 | mile
|  | 0.6214 | mile | = | 1 | km
mile <=> feet | 1 mile = 5,280 feet | 1 | mile | = | 5280 | feet
| feet = miles / 5,280 | 5280 | feet | = | 1 | mile
mile <=> yard | 1 mile = 1,760 yards | 1 | mile | = | 1760 | yards
| yards = miles / 1,760 | 1760 | yards | = | 1 | mile
mile <=> meters | 1 mile = 1,609.3 meter | 1 | mile | = | sample | meter
|  | 1609.3 | meter | = | 1 | mile
mm <=> m | 1 mm = 0.001 m | 1 | mm | = | 0.001 | m
| 1 m = 1,000 mm | 1 | m | = | 1000 | mm
km <=> m | 1 m = 0.001 km | 1 | m | = | sample | km
| 1 km = 1,000 m | 1 | km | = | 1000 | m
yard <=> meter | 1 yard = 0.9144 meter | 1 | yard | = | 0.9144 | meter
| 1 meter = 1.09361 yard | 1 | meter | = | 1.0936 | yard

## Volume
VOLUME CONVERSIONS |  |  | Back To MAIN SHEET
Units | Conversion Basis | Enter Value |  |  | Result
gallons <=> quarts | 1 gallon = 4 quarts | 1 | gallons | = | 4 | quarts
|  | 4 | quarts | = | 1 | gallons
gallons <=> pints | 1 gallon = 8 pints | 1 | gallons | = | 8 | pints
|  | 8 | pints | = | sample | gallons
gallons <=> cu. ft. | 1 gallon = 0.13368 cu. ft. | 1 | gallons | = | 0.13368 | cu. ft.
| 1 cu. ft. = 7.481 gallons | 1 | cu. ft. | = | 7.4806 | gallons
quarts <=> pints | 1 quart = 2 pints | 1 | quarts | = | 2 | pints
| 1 pint = 0.5 quart | 1 | pints | = | 0.5 | quarts
fluid oz <=> tablespoons | 1 fluid oz = 2 tablespoons | 1 | fluid oz | = | 2 | tablespoons
|  | 2 | tablespoons | = | sample | fluid oz
fluid oz <=> cup | 1 cup = 8 fluid ounce | 1 | cups | = | 8 | fluid ounce
|  | 1 | fluid ounce | = | 0.125 | cups
cu. yard <=> cu. Ft | 1 cu. yard = 27 cu. ft | 1 | cu. yard | = | 27 | cu. ft.
|  | 1 | cu. ft. | = | 0.037037 | cu. yard
cu. yard <=> pints | 1 cu. yard = 1,616 Pints | 1 | cu. yard | = | 1616 | Pints
|  | 1616 | Pints | = | 1 | cu. yard
cu. yard <=> cu. meters | 1 cu. yard = 0.7646 cu. meters | 2 | cu. yard | = | sample | cu. meters
|  | 1 | cu. meters | = | 1.3079 | cu. yard
cu. yard <=> gallons | 1 cu. yard = 202 gallons (US) | 1 | cu. yard | = | 202 | gallons
|  | 1 | gallons | = | 0.0049505 | cu. yard
cu. cm <=> cu. Inches | 1 cu. cm = 0.061 cu. inches | 1 | cu. cm | = | 0.061 | cu. inches
|  | 1 | cu. inches | = | 16.3934 | cu. cm
cord <=> cu. Ft | 1 cord = 128 cu. ft | 1 | cord | = | sample | cu. ft.
|  | 1 | cu. ft. | = | 0.0078125 | cord
VOLUMETRIC FLOW
1 Gallon = 0.002228 ft3/sec
1 Gallon = 0.1337 ft3/min
1 ft3/sec = 448.9 gal./min

## Velocity
VELOCITY CONVERSIONS |  |  | Back To MAIN SHEET
Units | Conversion Basis | Enter Value |  |  | Result
fpm <=> mph | 1 ft/min = 0.0114 mph | 1 | ft/min | = | 0.0114 | mph
| 1 mph = 87.7 fpm | 1 | mph | = | 87.7193 | ft/min
mph <=> fps | 1 mph = 1.467 ft/sec | 1 | mph | = | sample | ft/sec
| 1 fps = 0.682 mph | 1 | ft/sec | = | 0.68166 | mph
mps <=> mph | 1 meter/sec = 2.237 mph | 1 | meter/sec | = | 2.237 | mph
| 1 mph = 0.447 meter/sec | 1 | mph | = | 0.44703 | meter/sec
fps <=> m/s | 1 ft/s = 0.3048 m/s | 1 | ft/s | = | 0.3048 | m/s
| 1 m/s = 3.2808 ft/s | 1 | m/s | = | 3.2808 | ft/s
km/hr <=> m/s | 1 km/hr = 0.2778 m/s | 1 | km/hr | = | sample | m/s
| 1 m/s = 3.5997 km/hr | 1 | m/s | = | 3.5997 | km/hr
km/hr <=> fpm | 1 km/hr = 54.68 ft/min | 1 | km/hr | = | 54.68 | ft/min
|  | 1 | ft/min | = | 0.018288 | km/hr
km/hr <=> mph | 1 km/hr = 0.6214 mph | 1 | km/hr | = | 0.6214 | mph
|  | 1 | mph | = | sample | km/hr
meter/sec <=> fpm | 1 meter/sec = 196.85 ft/min | 1 | meter/sec | = | 196.85 | ft/min
| fpm = meter/sec / 196.85 | 1 | ft/min | = | 0.00508 | meter/sec
knot <=> km/h | 1 km/hr = 0.5396 knot | 1 | km/hr | = | 0.5396 | knot
| 1 knot = 1.852 kilometers/hr | 1 | knot | = | 1.852 | km/hr
knot <=> mph | 1 knot = 1.1515 mph | 1 | knot | = | sample | mph
|  | 1 | mph | = | 0.86843 | knot
knot <=> nau. m/h | 1 knot = 1 nautical mile/hr | 1 | knot | = | 1 | nautical mile/hr
|  | 1 | nautical mile/hr | = | 1 | knot
League <=> miles | 1 League = 3 miles | 1 | Leauge | = | 3 | miles
|  | 1 | miles | = | 0.33333 | Leauge
mach <=> mph | 1 mach = 741.455 mph | 1 | mach | = | 741.455 | mph
|  | 1 | mph | = | 0.0013487 | mach
mach <=> km/hr | 1 mach = 1193.256 km/hr | 1 | mach | = | 1193.256 | km/hr
|  | 1 | km/hr | = | 0.00083804 | mach
meter/sec <=> km/hr | 1 meter/sec = 3.6 kilometer/hr | 1 | meter/sec | = | 3.6 | kilometer/hr
|  | 1 | kilometer/hr | = | 0.27778 | meter/sec
meter/sec <=> ft/min | 1 meter/sec = 196.85 ft/min | 1 | meter/sec | = | 196.85 | ft/min
| 1 ft/min = 0.00508 meter/sec | 1 | ft/min | = | 0.00508 | meter/sec

## Pressure
PRESSURE CONVERSIONS |  |  | Back To MAIN SHEET
Units | Conversion Basis | Enter Value |  |  | Result
atm <=> psia | 1 atm = 14.7 psia | 1 | atm | = | 14.7 | psia
| psia = atm / 14.7 | 1 | psia | = | 0.068027 | atm
atm <=> psf | 1 atm = 2,116.2 lb/ft2 | 1 | atm | = | 2116.2 | lb/ft2
| lb/ft = atm / 2,116.2 | 1 | lb/ft2 | = | sample | atm
atm <=> in. Hg | 1 atm = 29.92 in. Hg | 1 | atm | = | 29.92 | in. Hg
| in. Hg = atm / 29.92 | 1 | in. Hg | = | 0.033422 | atm
in. water <=> in. mercury | 1 in. water = 0.0739 in mercury | 1 | in. water | = | 0.0739 | in. mercury
| 1 in. mercury = 13.53 in. water | 1 | in. mercury | = | 13.5318 | in. water
in. Hg <=> in. water | 1 in. Hg = 12.8 in water | 1 | in. Hg | = | 12.8 | in. water
| 1 in. water = 0.0781 in. Hg | 1 | in. water | = | 0.078125 | in. Hg
ft. H2O <=> psi | 1 ft.H2O = 0.4335 psi | 1 | ft. H20 | = | sample | psi
| 1 psi = 2.31 ft. H20 | 1 | psi | = | 2.3068 | ft. H20
ft. H2O <=> psf | 1 ft.H2O = 62.43 lbs./sq.ft. | 1 | ft. H20 | = | 62.43 | lbs/sq.ft
| psf = ft. H20 / 62.43 | 1 | lbs/sq.ft | = | 0.016018 | ft. H20
mm Hg <=> psi | 1 mm Hg = 0.01934 lb/in2 | 1 | mm Hg | = | 0.01934 | lb/in2
| 1 lb/in2 = 51.71 mm Hg | 1 | lb/in2 | = | 51.7063 | mm Hg
lb/ft2 <=> N/m2 | 1 lb/ft2 = 47.88 N/m2 | 1 | lb/ft2 | = | 47.88 | N/m2
| 1 N/m2 = lb/ft2 / 47.88 | 1 | N/m2 |  | 0.020886 | lb/ft2
mm Hg <=> torr | 1 mm Hg = 1 torr | 1 | mm Hg | = | 1 | torr
| 1 torr = 1 mm Hg | 2 | torr | = | 2 | mm Hg
Formulas
in. water = Pa x 249
ft. water = Pa x 0.00299
psi = kPa x 6.895

## Weight
WEIGHT CONVERSIONS |  |  | Back To MAIN SHEET
Units | Conversion Basis | Enter Value |  |  | Result
kg <=> grams | 1 kg = 1,000 grams | 1 | kg | = | 1000 | grams
| 1 gram = 0.001 kg | 1 | grams | = | 0.001 | kg
kg <=> lbs | 1 kg = 2.2046 lbs | 1 | kg | = | 2.2046 | lbs
| 1 lb = 0.454 kg | 1 | lbs | = | 0.4536 | kg
lb <=> oz | 1 lb = 16 oz | 1 | lb | = | 16 | oz
|  | 1 | oz | = | sample | lb
lb <=> grams | 1 lb = 453.6 grams | 1 | lb | = | 453.6 | grams
|  | 1 | grams | = | 0.0022046 | lb
oz <=> grams | 1 oz = 28.35 grams | 1 | grams | = | 0.0353 | oz
| 1 gram = 0.0353 oz | 1 | oz | = | 28.3286 | grams
Ton <=> lbs | 1 Ton = 2,000 lbs | 1 | Ton | = | 2000 | lbs
| 1 lb = 0.0005 ton | 1 | lbs | = | 0.0005 | Ton
Ton <=> kg | 1 Ton = 907 kg | 1 | Ton | = | sample | kg
|  | 1 | kg | = | 0.0011025 | Ton
gallon <=> lbs | 1 gal. H2O = 8.33 lbs. H2O | 1 | gal. H2O | = | 8.33 | lbs. H2O
|  | 1 | lbs. H2O | = | 0.12005 | gal. H2O
slug <=> kg | 1 slug = 14.594 kg | 1 | slug | = | 14.594 | kg
|  | 1 | kg | = | 0.068521 | slug

## Time Date
TIME & DATE |  |  |  | Back To MAIN SHEET
Units | Conversion Basis | Enter Value |  |  | Result
day <=> hours | 1 day = 24 hours | 1 | day | = | 24 | hours
| hours = day / 24 | 1 | hours | = | 0.041667 | day
day <=> minutes | 1 day = 1,440 minutes | 1 | day | = | 1440 | minutes
|  | 1 | minutes | = | 0.00069444 | day
hour <=> minutes | 1 hour = 60 minutes | 1 | hour | = | 60 | minutes
|  | 1 | minutes | = | 0.016667 | hour
minutes <=> seconds | 1 minutes = 60 seconds | 1 | minutes | = | 60 | seconds
|  | 1 | seconds | = | 0.016667 | minutes
year <=> month | 1 year = 12 months | 1 | year | = | 12 | months
|  | 1 | months | = | 0.083333 | years
year <=> weeks | 1 year = 52 weeks | 1 | year | = | 52 | weeks
|  | 52 | weeks | = | 1 | years
year <=> days | 1 year = 365.25 days | 1 | year | = | 365.25 | Days
|  | 360 | Days | = | 0.98563 | years

## Area
AREA CONVERSIONS |  |  |  | Back To MAIN SHEET
Units | Conversion Basis | Enter Value |  |  | Result
sq. ft. <=> sq. in. | 1 sq. ft. = 144 sq. in. | 1 | sq. ft. | = | 144 | sq. in.
| 1 sq. in = 0.00694 sq. ft. | 1 | sq. in. | = | 0.0069444 | sq. ft.
sq. ft. <=> sq. meter | 1 sq. ft. = 0.0929 sq. meters | 1 | sq. ft. | = | 0.0929 | sq. meters
| 1 sq. meter = 10.764 sq. ft. | 1 | sq. meters | = | sample | sq. ft.
sq. ft. <=> sq. cm | 1 sq. ft. = 929 sq. cm | 1 | sq. ft. | = | 929 | sq. cm
| 1 sq cm = 0.001076 sq. ft. | 1 | sq. cm | = | 0.0010764 | sq. ft.
sq. ft. <=> sq. yards | 1 sq. ft. = 0.1111 sq. yards | 1 | sq. ft | = | 0.1111 | sq. yards
| 1 sq. yard = 9 sq. ft. | 1 | sq. yards | = | sample | sq. ft.

## Energy
ENERGY CONVERSIONS |  |  | Back To MAIN SHEET
Units | Conversion Basis | Enter Value |  |  | Result
Btu <=> J | 1 Btu = 1,055.06 J | 1 | Btu | = | 1055.06 | J
|  | 1 | J | = | 0.00094781 | Btu
Btu <=> watt hr | 1 Btu = 0.293 watt hr | 1 | Btu | = | 0.293 | watt hr
|  | 1 | watt hr | = | 3.413 | Btu
cal <=> J | 1 cal = 4.186 J | 1 | cal | = | 4.186 | J
|  | 1 | J | = | 0.23889 | cal
ft lbf <=> J | 1 ft lbf = 1.3558 J | 1 | ft. lbf | = | 1.3558 | J
|  | 1 | J | = | 0.73757 | ft. lbf
HP hr <=> kWh | 1 HP hr = 0.7457 kWh | 1 | HP hr | = | 0.7457 | kWh
|  | 1 | kWh | = | 1.341 | HP hr
HP hr <=> J | 1 HP hr = 2.6846x106 J | 1 | HP hr | = | 2684600 | J
|  | 1 | J | = | 3.7249e-07 | HP hr
J <=> watt sec. | 1 Joule = 1 watt second | 1 | Joule | = | 1 | watt sec
|  | 1 | watt sec | = | 1 | Joule
J <=> Nm | 1 Joule = 1 Nm | 1 | Joule | = | 1 | Nm
|  | 1 | Nm | = | 1 | Joule
J <=> ft lb | 1 Joule = 1 ft lb | 1 | Joule | = | 1 | ft lb
|  | 1 | ft lb | = | 1 | Joule
kcal <=> Btu | 1 kcal = 3.9683 Btu | 1 | kcal | = | 3.9683 | Btu
|  | 1 | Btu | = | 0.252 | kcal
KJ <=> Btu | 1 kJ = 0.947813 Btu | 1 | kJ | = | 0.94781 | Btu
|  | 1 | Btu | = | 1.0551 | kJ
kWh <=> J | 1 kWh = 3.6x106 J | 1 | kWh | = | 3600000 | J
|  | 1 | J | = | 2.7778e-07 | kWh
kWh <=> Btu | 1 kWh = 3,412 Btu | 1 | kWh | = | 3412 | Btu
|  | 1 | Btu | = | 0.00029308 | kWh

## Power
| POWER CONVERSIONS |  | Back To MAIN SHEET
Units | Conversion Basis | Enter Value |  |  | Result
Btu/hr <=> MBH | 1 Btu/hr = 0.001 MBH | 1 | Btu/hr | = | 0.001 | MBH
| 1 MBH = 1,000 Btu/hr | 1 | MBH | = | 1000 | Btu/hr
Btu/hr <=> W | 1 Btu/hr = 0.293 W | 1 | Btu/hr | = | 0.293 | W
| 1 W = 3.413 Btu/hr | 1 | W | = | 3.413 | Btu/hr
Btu/s <=> W | 1 Btu/s = 1055.1 W | 1 | Btu/s | = | 1055.1 | W
|  | 1 | W | = | sample | Btu/s
HP <=> kW | 1 HP = 0.746 kW | 1 | HP | = | 0.746 | kW
| 1 kW = 1.341 HP | 1 | kW | = | 1.3405 | HP
HP <=> ft lb/s | 1 HP = 550 ft lb/s | 1 | HP | = | 550 | ft lb/s
|  | 1 | ft lb/s | = | 0.0018182 | HP
HP <=> ft lb/m | 1 HP = 33 ft lb/m | 1 | HP | = | sample | ft lb/m
|  | 1 | ft lb/m | = | 0.030303 | HP
kW <=> W | 1 kW = 1,000 Watts | 1 | kW | = | 1000 | Watts
| 1 Watt = 0.001 kW | 1 | Watts | = | 0.001 | kW
kW <=> Btu/hr | 1 kW = 3,412 Btu/hr | 1 | kW | = | 3412 | Btu/hr
|  | 1 | Btu/hr | = | 0.00029308 | kW
Therm <=> Btu/hr | 1 Therm = 100,000 Btu/hr | 1 | Therm | = | 100000 | Btu/hr
|  | 1 | Btu/hr | = | 1e-05 | Therm
W <=> J/s | 1 W = 1 J/s | 1 | W | = | 1 | J/s
| 1 J/s = 1 W | 1 | J/s | = | 1 | W

## Feet-inches
|  |  |  | FEET & INCHES CONVERSIONS |  |  |  |  | Back To MAIN SHEET
Enter Inches |  |  |  |  | Enter Feet & Inches
| Inches |  |  |  |  | Feet | Inches
| 56 | 56 | = | 4' - 8" |  | 1 | 6 | 18 | = | 1' - 6"
| 98 | 98 | = | 8' - 2" |  | 2 | 1 | 25 | = | 2' - 1"
| 62 | 62 | = | 5' - 2" |  | 2 | 5 | 29 | = | 2' - 5"
|  | 0 | = |  |  | 1 | 6 | 18 | = | 1' - 6"

## US vs Metric
| US Units vs. Metric Units |  | Back To MAIN SHEET
Units | Conversion Basis | Enter Value |  |  | Result
inch <=> cm | 1 inch = 2.54 cm | 1 | inches | = | 2.54 | cm
| cm = inches / 2.54 | 60 | cm | = | 23.622 | inches
inch <=> mm | 1 inch = 25.4 mm | 1 | inches | = | 25.4 | mm
| mm = inches / 25.4 | 78 | mm | = | 3.0709 | inches
feet <=> meter | 1 foot = 0.348 meters | 1 | feet | = | 0.348 | meters
| 1 meter = 2.873 feet | 1 | meters | = | 2.873 | feet
gallons <=> liters | 1 gallon = 3.785 liters | 1 | gallons | = | 3.785 | liters
| 1 liter = 0.264 gallons | 1 | liters | = | sample | gallons
sq. ft. <=> sq. meter | 1 sq. ft = 0.0929 sq. meter | 1 | sq. ft. | = | 0.0929 | sq. meter
| 1 sq. meter = 10.764 sq. ft. | 1 | sq. meter | = | 10.764 | sq. ft.
GPM <=> Liter per sec. | 1 GPM = 0.063 Liter per sec | 1 | GPM | = | sample | Liter/sec
| 1 Liter per sec = GPM | 1 | Liter/sec | = | 15.873 | GPM
psi <=> kPa | 1 psi = 6.8948 kPa | 1 | psi | = | 6.8948 | kPa
| 1 kPa = 0.145 psi | 1 | kPa | = | 0.145 | psi
fpm <=> mm/s | 1 fpm = 5.08 mm/s | 1 | fpm | = | 5.08 | mm/s
| 1 mm/s = 0.1968 fpm | 1 | mm/s | = | 0.1968 | fpm
cu. ft. <=> cu. meter | 1 cu. ft. = 0.028 cu. meter | 1 | cu. ft. | = | 0.028 | meter
| 1 cu. meter = 35.71 cu. ft. | 1 | meter | = | 35.71 | cu. ft.
cu. ft./min <=> L/min | 1 cu. ft/min = 28.32 L/min | 1 | cu. ft/min | = | 28.32 | L/min
| 1 L/min = 0.0353 cu.ft/min | 1 | L/min | = | 0.0353 | cu. ft/min

## Disclaimer
Back To MAIN SHEET
User Guide
1) | Enter value in yellow cells. Results will automatically be calculated in blue cells.
2) | This is a FREE sample version where some cells are disabled. Get the full version to use all features.
3) | Please read the below Disclaimer prior to use. Click the above "Back To MAIN SHEET" button to start using our spreadsheets.
4) | Visit our website at www.HVACnotebook.com for more products.
Disclaimer
1) | The intend of these spreadsheets is to reduce tedious & repetitive calculations. It is assumed that the user is familiar with the formulas applied and can perform these calculations on his/her own without these spreadsheets. User is responsible to verify the results and correctly use the results from these spreadsheets. We are NOT responsible for any errors in these spreadsheets.
2) | We make no guarantees about the quality of our Spreadsheets and is not responsible for any claims, losses, damages, costs, or other obligations arising from use of our products or materials from our website. We also denies any responsibility for the quality and accuracy of the information presented on our spreadsheets and/or website. Our website and all materials contained on it are distributed and transmitted “as is” without warranties of any kind, either express or implied.
3) | We are not responsible for any special, indirect, incidental or consequential damages (regardless or whether they were foreseeable) that may arise from the use of, or the inability to use, our products and/or the materials contained on our website.
4) | Any material downloaded from our website is done at your own discretion and risk. You will be solely responsible for any damage to your computer system or other device or loss of data that results from the download or use of any such material.